## Environmental Cleaning Audit
Environmental Cleaning Audit Tool
This audit tool has been adapted from the tool developed by the Clinical Excellence Commission, NSW (June 2012)

## Introduction
The Environmental Cleaning Audit workbook has been designed to assist health facilities to conduct cleaning inspections, record the results and develop an action plan if required. This workbook contains instructions on how use the tool, standards to be reached for each element, a sample audit score sheet along with the audit score sheet and action plan. This workbook is to be used in conjunction with the Cleaning Standard and Cleaning Schedule for Healthcare Facilities developed by SA Health.
Each functional area in a health facility is assigned to one of three risk categories based on the risk of transmission of infection to a patient or visitor. The frequency to audit each functional area is also based on the level of risk assigned to that area. In addition each functional area has its own minmum acceptable quality level (AQL) of cleanliness that must be achieved (equivalent to the overall percentage score for that functional area). High Risk is 90%, Moderate Risk is 85% and Low Risk is 85%.
Auditors input a score for the cleanliness of specific elements such as walls, surfaces, flooring, etc, in each functional area. These elements are scored as "1" for satisfactory and "0" for unsatisfactory. When an item is N/A leave the "X" in the box. For an element to achieve a "1" score all parts of that element must be of the same standard. The data will automatically calculate the Total Score achieved against the potential achievable score for each element. The Functional Area Overall Percentage Score is then automatically calculated. For an area to pass the audit, the Overall Percentage Score should be at or above the AQL for a functional area of the assigned risk category.
An audit score less than the required score for each Functional Area indicates an unsatisfactory level of compliance and improvement is required. Issues are to be indentified on the action plan along with actions to improve compliance. Each Functional Area has its own time frames for rectifying poor compliance issues.
While the audit tool contained in this work book is not mandatory for facilities to use, facilities are required to conduct audits and develop action plans to fulfil the requirements of the National Safety and Quality Health Service Standards (Standard 3.15) and base the audits on the outcome standards to be reached for each element outlined in this workbook.
Introduction

## Instructions
Step 1
Step 2
Step 3
Step 4
Any problems should be noted in the comments section
Instructions on using the Audit Tool
Step 1: Insert the name of the functional area, auditor and date across the top
Step 2: Insert the names of the rooms or room numbers of the Functional area down the left hand column
Step 3: Insert "1" for satisfactory, "0" for unsatisfactory and "n/a" for not applicable, for each room and under each element that is being inspected. The box will automatically go blue or red depending on the number inserted, and yellow for "n/a".
The pop-up box for Allowed Values can be temporarily moved out of the way using the mouse, if required.
Step 4: Achievable Score, Total Score and Overall Percentage Score will be automatically calculated.

## Element Standards
Non-movable fixtures and fittings
Walls and skirtings
(i) | Internal walls and skirtings are free from blood or body substances, dust, dirt, stains and cobwebs.
(ii) | Light switches are free from fingerprints, stains and any other marks.
(iii) | Wall-mounted alcohol hand rub dispeners should be visibly clean and free from blood or body substances, dust, dirt, debris or spillages.
(iv) | Hand-wash dispensers should be free from product build-up around the nozzle. Splashes on the wall, floor, sink should not be present.
Ceilings, high areas, curtain rails
(i) | Ceilings are free from dust, dirt, lint, stains, film and cobwebs.
(ii) | Light covers and diffusers are free from dust, dirt, lint, cobwebs and insects.
(iii) | High shelves and the tops or cupboards are free from dust, dirt, lint, cobwebs and insects.
(iv) | Curtain rails and pelmets are free from dust, dirt, lint, cobwebs and insects.
Windows
(i) | Internal surfaces of glass are free from streaks, spots, fingerprints and smudges.
(ii) | Window frames, tracks and ledges are clear and free from dust, dirt, marks and spots.
Doors
(i) | Doors and door frames are free from dust, dirt, lint, fingerprints and cobwebs.
(ii) | Door grilles and other ventilation outlets are kept unblocked and free from dust, dirt, lint and cobwebs
(iii) | Door tracks and door jambs are free from dirt, lint and other debris.
Hard floors (non-carpet)
(i) | The floor is free from dust, dirt, litter, stains, film, water or other liquids.
(ii) | Inaccessible areas (edges, corners and around furniture) are free from dust, dirt, lint and cobwebs.
(iii) | Polished or buffed floors are of a uniform lustre.
(iv) | Appropriate signage and precautions are taken regarding pedestrian safety of newly cleaned or wet floors.
Soft floors (includes all carpets and carpet tiles)
(i) | The floor is free from dirt, litter, stains, badly worn areas, rips or tears.
(ii) | Inaccessible areas (edges, corners and around furniture) are free from dirt, lint, stains and cobwebs.
Ducts, grilles and vents
(i) | All ventilation outlets are kept unblocked and free from dust, lint, cobwebs, mould and marks.
(ii) | All ventilation outlets are kept clear and uncluttered following cleaning.
Electrical fixtures and appliances
(i) | Electrical fixtures and appliances are free from grease, dirt, dust, deposits, and stains.
(ii) | Motor vents etc are clean and free from dust and lint.
(iii) | Insect killing devices are free from dead insects and are clean and functional.
(iv) | Medical/Drug Refrigerators are clean and free from ice build-up.
(v) | Computer screens, keyboards, telephones are free from dust, lint, and fingermarks.
Furnishings and fixtures
(i) | Hard surface furniture is free from dust, spots, film, fingerprints and spillages.
(ii) | Soft surface furniture is free from stains, lint, rips and worn areas.
(iii) | Furniture legs, wheels and castors are free from mop strings, film, dust and cobwebs.
(iv) | Inaccessible areas (edges, corners, folds and crevices) are free from dust, dirt, lint and stains.
(v) | Window blinds or curtains are free from spots, stains, cobwebs, lint and obvious signs of wear and tear.
(vi) | Bedside curtains are free from stains, rips and tears
(vii) | Equipment is free from tapes/plastic, etc, which may compromise cleaning.
(viii) | Shelves, benchtops, cupboards and wardrobes/lockers are clean inside and out and free from dust, litter and stains.
(ix) | Internal plants are free from dust and litter.
(x) | Fire extinguishers and fire alarms are free from dust, dirt and cobwebs.
Kitchenette fixtures and appliances
(i) | Fixtures, surfaces and appliances are free from grease, dirt, dust, deposits, stains and cobwebs.
(ii) | Rangehoods (interior and exterior) and exhaust filters are free from grease and dirt on inner and outer surfaces.
(iii) | Motor vents etc are clean and free from dust and lint.
(iv) | Refrigerators/freezers are clean and free from ice build-up.
Wet areas
Toilets and bathroom fixtures
(i) | Toilet porcelain and plastic surfaces are free from smudges, smears, body fluids, soap build-up and mineral deposits.
(ii) | Sink porcelain and tap fittings are free from smudges, smears, body fluids, soap build-up and mineral deposits.
(iii) | Metal surfaces, shower screens and mirrors are free from streaks, smudges, soap build-up and oxide deposits.
(iv) | Wall tiles, tile grout and wall fixtures (including dispensers) are free from dust, smudges/streaks, mould, soap build-up and mineral deposits.
(v) | Shower curtains and bath mats are free from stains, smears, odours, mould and body fats.
(vi) | Plumbing fixtures are free from smears, dust, soap build-up and mineral deposits.
(vii) | Sanitary disposal units are functional, not over-full, and external surfaces are clean.
Patient Room Equipment
Patient furniture
(i) | Bed and bed frame, bedside locker, chair, wheel table: all parts of the items should be visibly clean and free from blood or body substances, dust, dirt, debris and spillages.
(ii) | Furniture legs, wheels and castors are free from mop strings, film, dust and cobwebs.
Medical equipment
(i) | Equipment is free from dust, dirt, smudges, fingerprints, blood and body substances
(ii) | Equipment is free from tapes/plastic etc. that may compromise cleaning.
(iii) | Equipment legs, wheels and castors are free from mop strings, film, dust and cobwebs.
Bedside wall mounts, oxygen and suction connectors
(i) | All parts including wall underneath should be visibly clean and free from blood or body substances, dust, dirt, debris and spillages.
Environment
Waste recepticals
(i) | All waste bins, linen bins, sharps containers are no more then 3/4 full
(ii) | Waste/rubbish bins, sharps containers and linen skips are clean, and free from stains.
General issues and tidiness
(i) | The area appears tidy and uncluttered.
(ii) | Floor space is clear, only occupied by furniture and fittings designed to sit on the floor.
(iii) | Furniture is maintained in a fashion that allows for cleaning.
(iv) | Staff are wearing correct PPE while cleaning.
Fire exits and stairwells
(i) | The area is free from dust, dirt, cobwebs, litter, stains and spills.
Odour control
(i) | All areas including furniture and fixtures should be odour free.

## Sample Audit Score Sheet
Environmental Cleaning Audit - Score Sheet
Remaining Target
| Functional Area: |  |  | Ward 7 West |  |  |  | Auditor: |  | John Smith |  |  |  |  | Date:
|  | Building | [6 empty] | Fixtures |  |  |  | Patient room |  |  |  | Environment
ROOM NAME: |  | Ceilings, high areas, curtain rails | Walls and skirtings | Windows | Doors, door frames | Hard floors (non-carpeted) | Soft floors (incl all carpets) | Ducts, grilles, and vents | Elextrical fixtures, appliances | Furnishings, fixtures | Kitchenette fixtures, appliances | Toilets, bathroom fixtures | Patient furniture | Medical equipment | Wall mounts, oxygen, suction | Waste recepticals | General tidiness | Odour control | Fire exits, stairwells | Actual Score | Percentage Attained
room 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | x | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 17 | 100%
room 2 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | x | 1 | x | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 15 | 93.75%
room 3 |  | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 | 88.89%
room 4 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 15 | 83.33%
room 5 |  | x | 0 | 1 | 0 | 1 | 1 | 1 | x | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 14 | 87.5%
room 6 |  | 0 | 0 | 1 | 1 | 1 | 1 | 1 | x | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 13 | 76.47%
room 7 |  | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 13 | 72.22%
room 8 |  | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 12 | 66.67%
room 9 |  | 0 | 0 | x | x | 1 | 1 | 1 | x | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 13 | 86.67%
room 10 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 17 | 94.44%
Achievable Score |  | 9 | 10 | 9 | 9 | 10 | 10 | 10 | 6 | 10 | 8 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 171
Total Score |  | 5 | 4 | 7 | 6 | 9 | 10 | 9 | 6 | 9 | 7 | 10 | 10 | 10 | 10 | 8 | 8 | 8 | 9 | 145
Comments: (insert comments here)
(insert comments here)
Overall compliance
84.8%

## Audit Title Page
Facility:
Department:
Functional Risk & Rating Level:
Date of Audit:
Name of Auditor:
Environmental Cleaning Audit

## Template Audit Score Sheet
Environmental Cleaning Audit - Score Sheet
Functional Area: | (insert Department name) | [5 empty] | Auditor: |  | (insert name of auditor) | [5 empty] | Date: | (insert date of audit)
| Building | [6 empty] | Fixtures |  |  |  | Patient room |  |  |  | Environment
ROOM NAME: | Ceilings, high areas, curtain rails | Walls and skirtings | Windows | Doors, door frames | Hard floors (non-carpeted) | Soft floors (incl. carpets) | Ducts, grilles and vents | Electrical fixtures, appliances | Furnishings, fixtures | Kitchenette fixtures, appliances | Toilets, bathroom fixtures | Patient furniture | Medical equipment | Wall mounts, oxygen, suction | Waste recepticals | General tidiness | Odour control | Fire exits, stairwells | Actual Score | Percentage Attained
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | 0
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | 0
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | 0
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | 0
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | 0
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | 0
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | 0
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | 0
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | 0
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | 0
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | 0
| x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | 0
Achievable Score | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Score | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Comments: (insert comments here)
(insert comments here)
Overall compliance
#DIV/0!

## Comments
Cleaning Audit Comments Section
Department: |  | Department Manager:
Date:
Room Name | Comments
Room Name | Comments

## Action Plan
Cleaning Audit Action Plan
Department: |  | Department Manager:
Date:
Issue | Action | Responsible Officer | Due Date | Comments / Outcome